## Slide 1
Performance Investigation of a Solar Collector Water Heater Integrated With Photovoltaic Cell
By
Md Tafimul Islam (ID: ME2101023226)
Sariful Islam (ID: ME2201026005)
Sabbir Ahmed Fahad (ID:ME2201026067)
Abdul Latif Miah (ID: ME2201026103)
Md. Toufikuzzaman (ID: ME2201026285)
SONARGAON UNIVERSITY (SU)
page 01
next
Supervised By
Md. Toriqul Islam
Lecturer
Department of Mechanical Engineering

## Slide 2
Contents
Introduction
Future Recommendations
Methodology
Result & Discussion
Conclusion
page 02
next

## Slide 3
Introduction
page 03
next

## Slide 4
next
Background & Motivation
Rising energy demand and reliance on fossil fuels
Conventional water heaters consume high electricity
Need for renewable, low-cost domestic water heating in Bangladesh
Conventional energy sources contribute to greenhouse gas emissions and climate change
Integration with photovoltaic (PV) cells allows independent operation without grid power
page 04

## Slide 5
page 05
next
Problem Statement
High electricity & fuel cost for conventional heaters
Heavy dependence on non-renewable sources
Not suitable for rural/low-income households
Reduces fossil fuel use & electricity demand

## Slide 6
page 06
next
Objectives
To evaluate the performance of the system in terms of temperature rise, heat transfer, and overall efficiency.
To implement an Arduino-based monitoring system for recording and analyzing inlet and outlet temperatures.
To compare the energy consumption with conventional water heater.

## Slide 7
Methodology
page 07
next

## Slide 8
page 08
next
Methodology
Water Tank
Pump
Header Pipe In
Header Pipe Out
Use
Open-loop circulation system
Continuous water flow through header pipe
PV-powered DC pump for circulation
Efficient heat absorption via ethanol-filled copper heat pipes
Self-sustained operation with photovoltaic module
Low-cost fabrication using local/repurposed materials
Real-time temperature monitoring at key points

## Slide 9
Page 09
next
Construction Process
Fabrication of Heat Pipes
Construction of Header Pipe
Circulation System
Temperature Monitoring System

## Slide 10
Fabrication of Heat Pipes
Construction Process
Header Pipe
Pump
Temperature Monitoring System
Page 10
next

## Slide 11
Result & Discussion
page 11
next

## Slide 12
page 12
next
Experimental Data
Temperature (◦c) |  |  |  |  |  |  |  |  |  | 
Time Day | 11.00 am | 11.30 am | 12.00 pm | 12.30 pm | 01.00 pm | 01.30 pm | 02.00 pm | 02.30 pm | 03.00 pm | Avg. Temp Increase
Day 01 | 9 | 9 | 9.5 | 10 | 11 | 11.5 | 12.5 | 13.5 | 13 | 11
Day 02 | 13.5 | 13.5 | 13 | 14.5 | 14.5 | 14.5 | 14 | 13.5 | 13 | 13.77
Day 03 | 10 | 9 | 9.5 | 10.5 | 9 | 10.5 | 11 | 10 | 9.5 | 9.88
Day 04 | 11.5 | 12 | 12.5 | 13 | 13.5 | 13 | 13.5 | 13 | 13 | 12.77
Day 05 | 9.5 | 10 | 10.5 | 11 | 11 | 12 | 12 | 12 | 12 | 11.11
Day 06 | 11.5 | 12.5 | 12.5 | 13 | 13 | 13 | 13.5 | 14 | 13.5 | 12.94
Day 07 | 9.5 | 10 | 10 | 11 | 12 | 13.5 | 13.5 | 13.5 | 13 | 11.77

## Slide 13
page 13
next
Time vs Temperature Graph
Chart: Increased Temperature (◦c)
| 11.00 am | 11.30 am | 12.00 pm | 12.30 pm | 01.00 pm | 01.30 pm | 02.00 pm | 02.30 pm | 03.00 pm
Day 01 | 9 | 9 | 9.5 | 10 | 11 | 11.5 | 12.5 | 13.5 | 13
Day 02 | 13.5 | 13.5 | 13 | 14.5 | 14.5 | 14.5 | 14 | 13.5 | 13
Day 03 | 10 | 9 | 9.5 | 10.5 | 9 | 10.5 | 11 | 10 | 9.5
Day 04 | 11.5 | 12 | 12.5 | 13 | 13.5 | 13 | 13.5 | 13 | 13
Day 05 | 9.5 | 10 | 10.5 | 11 | 11 | 12 | 12 | 12 | 12
Day 06 | 11.5 | 12.5 | 12.5 | 13 | 13 | 13 | 13.5 | 14 | 13.5
Day 07 | 9.5 | 10 | 10 | 11 | 12 | 13.5 | 13.5 | 13.5 | 13
Temperature

## Slide 14
page 14
next
Inlet temperature: 28–30 °C
Outlet temperature: 37–44 °C
Average temperature rise (ΔT): 11–13 °C
Maximum recorded ΔT: 14.5 °C
(Day 2, 12:30–1:30 PM)
i.e: System consistently heats water by ~12 °C, suitable for domestic use
Performance Analysis

## Slide 15
page 15
next
    Comparison with Conventional Electric Water Heater
Conventional Water Heater (Using Grid Power)
As Reference: 2 kW, 50 L electric heater raises water from 28 °C to 40 °C (ΔT = 12 °C)
The required energy, Q = m ⋅ Cp ​⋅ ΔT
= 50 × 4.18 × 12
= 2508 kJ ≈ 0.70 kWh
Solar Water Heater
The Solar water heater raises temperature of 50 L water from 28 °C to 40 °C (ΔT = 12 °C)
The required energy (Grid Power) = 0

## Slide 16
page 16
next
Annual Saving
The PV-powered pump (30 W panel + 12 V DC pump) operated without grid electricity, whereas the electric heater consumes 0.70 kWh per 50 L cycle.
Projected annual consumption of grid power (365 days),
0.70 × 365 = 255 kWh/ year
Annual expense on grid power = 255 kWh/ year × 9 BDT = 2,295 Taka
(At an electricity tariff of 9 BDT/kWh)
Solar powered water heater saves approximately 2,295 taka per year for a 50 L water heating cycle everyday.

## Slide 17
Future Recommendations
page 17
next

## Slide 18
page 18
next
Future Recommendations
Incorporation of Phase Change Materials (PCM).
Application of Selective Coating.
Integration of Solar Tracking System.
Use of Alternative Materials.

## Slide 19
Conclusion
page 19
next

## Slide 20
page 20
next
Aim: Improve heat transfer in low-cost evacuated tube solar collector
Fabricated system raised outlet temp by 11–14 °C (peak 43–44 °C)
Comparable to 2 kW electric heater but no grid electricity used
Efficiency: 12–18% vs. 35–45% (commercial systems) → acceptable for low-cost build
Shows feasibility of ethanol-copper heat pipes + PV circulation
Affordable, sustainable alternative for domestic electric water heating in Bangladesh
Conclusion

## Slide 21
page 21
next